6" Ceiling Speaker (1.5W-3W-6W)
FCS-706

Feature:

 Commercial ceiling speaker with transformer.

 Ideal for school, office, hotel & airport background music system.

 Rated power output 1.5W-3W-6W at 100V.

 6" full range paper driver unit.

 Line input 100V or 70V.

 ABS enclosure and metal grille in white.

 In-ceiling quick installation by spring clip.

Specification:

Model FCS-706

Description 6” Ceiling Speaker

Rated Power Output 1.5W-3W-6W

Line Input 100V or 70V

Frequency Response 100-15KHz

SPL(@1W/m) 93dB

Speaker Unit 6” full range paper cone

Cutout Size 170mm

Dimension 188D)×76(H)mm

Material ABS enclosure and metal grille in white

Mounting Way In-ceiling spring clip quick installation

Weight 0.7kg

Page 1 of 1 www.ftdaudio.com, info@ftdaudio.com