5" Fireproof Ceiling Speaker (3W-6W)                                                                                      
FFS-305

Feature:

- Commercial fireproof ceiling speaker with transformer.

- Ideal for school, office, hotel and airport voice evacuation and PA system.

- Compliant with the EN54-24 EVAC standard.

- Ceramic connector, fire dome, 95℃ fire-resistant cable and thermal fuse.

- Rated power output 3W-6W at 100V.

- 5" full range paper woofer.

- Line input 100V or 70V with transformer.

- With A/B two speaker cable entry.

- Metal enclosure, metal grille in white and fire dome in red.

- In-ceiling quick installation by spring clip.

Specification:

| Model | FFS-305 |
| --- | --- |
| Description | 5” Fireproof Ceiling Speaker |
| Rated Power Output | 3W-6W |
| Line Input | 100V or 70V |
| Frequency Response | 130-15KHz |
| SPL(@1W/m) | 92dB |
| Speaker Unit | 5” full range paper woofer |
| Cutout Size | 160mm |
| Dimension | 180(D)×135(H)mm |
| Material | Metal enclosure, metal grille in white and fire dome in red |
| Mounting Way | In-ceiling spring clip quick installation |
| Weight | 1.3kg |

Mounting, Dimension & Side View:

Frequency Response & SPL Diagram: